# School Plant

### Buildings—

Every school building shall be located on grounds that are well-drained and maintained in a sanitary condition and in accordance to applicable health codes.  All buildings shall be properly ventilated and provided with an adequate supply of drinking water, an approved sewage disposal system, hand-washing facilities, a heating system, and lighting facilities, all of which shall conform with established standards of good public health engineering practices.

### Lunch rooms—

All school lunch rooms, dining areas, and food preparation areas shall be maintained in accordance with state food and drug regulations.

### Custodial services—

All school buildings and appurtenances to buildings shall be maintained in a sanitary manner, and all full-time building custodians and janitors shall be trained to perform their duties.